2022 Consumer Confidence Report for Public Water System CITY OF SPRING VALLEY VILLAGE
	This is your water quality report for January 1 to December 31, 2022
	
	For more information regarding this report contact: 

	
	
	

	
	
	

	CITY OF SPRING VALLEY VILLAGE provides 70% ground water from Gulf Coast aquifer through a water well located within the limits of the City of Spring Valley Village, and 30% surface water purchased from the City of Houston, Harris County.

	
	Name   Kristina Watson

	
	
	

	
	
	Phone  713-465-8308; kwatson@springvalleytx.com

	
	
	


This CCR can be found at https://www.springvalleytx.com
Este reporte incluye información importante sobre el agua para tomar.  Para asistencia en español, favor de llamar al telefono 713-465-8308.
Definitions and Abbreviations
	Definitions and Abbreviations
	
	The following tables contain scientific terms and measures, some of which may require explanation.

	
	
	

	Action Level:
	
	The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

	
	
	

	
	
	

	
	
	

	Avg:  
	
	Regulatory compliance with some MCLs are based on running annual average of monthly samples.

	
	
	

	Level 1 Assessment:
	
	 A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

	
	
	

	
	
	

	Level 2 Assessment:
	
	 A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

	
	
	

	
	
	

	Maximum Contaminant Level or MCL:
	
	The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

	
	
	

	
	
	

	Maximum Contaminant Level Goal or MCLG:
	
	The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

	
	
	

	Maximum residual disinfectant level or MRDL:
	
	The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

	
	
	

	
	
	

	Maximum residual disinfectant level goal or MRDLG:
	
	The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

	
	
	

	MFL
	
	million fibers per liter (a measure of asbestos)

	
	
	

	mrem:
	
	millirems per year (a measure of radiation absorbed by the body)

	
	
	

	na:  
	
	not applicable.

	
	
	

	NTU
	
	nephelometric turbidity units (a measure of turbidity)

	
	
	

	pCi/L
	
	picocuries per liter (a measure of radioactivity)


Definitions and Abbreviations
	ppb:  
	
	micrograms per liter or parts per billion

	
	
	

	ppm:  
	
	milligrams per liter or parts per million

	
	
	

	ppq
	
	parts per quadrillion, or picograms per liter (pg/L)

	
	
	

	ppt
	
	parts per trillion, or nanograms per liter (ng/L)

	
	
	

	Treatment Technique or TT:
	
	A required process intended to reduce the level of a contaminant in drinking water.


Information about your Drinking Water
The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.
Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.
Contaminants that may be present in source water include:
-   Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.
-   Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.
-   Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.
-   Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.
-   Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.
In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.
Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily causes for health concerns.  For more information on taste, odor, or color of drinking water, please contact the system's business office.
You may be more vulnerable than the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water.  Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDS or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers.  Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.
Information about Source Water
TCEQ completed an assessment of your source water, and results indicate that some of our sources are susceptible to certain contaminants. The sampling requirements for your water system is based on this susceptibility and previous sample data. Any detections of these contaminants will be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system contact Kristina Watson at 713-465-8308.
	City of Spring Valley Village

	Lead and Copper
	Date Sampled
	MCLG
	Action Level (AL)
	90th Percentile
	# Sites Over AL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Copper
	2022
	1.3
	1.3                                     
	0.14
	0
	ppm      
	N
	Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems.

	
	
	
	
	
	
	
	
	

	Lead
	2022
	0
	15                                      
	7.7
	1
	ppb      
	N
	Corrosion of household plumbing systems; Erosion of natural deposits.


2022 Water Quality Test Results
2022
	Disinfection By-Products
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Haloacetic Acids (HAA5)
	2022
	7
	6.8 - 6.8
	No goal for the total
	60                                      
	ppb      
	N
	By-product of drinking water disinfection.


*The value in the Highest Level or Average Detected column is the highest average of all HAA5 sample results collected at a location over a year
	Total Trihalomethanes (TTHM)
	2022
	7
	7.4 - 7.4
	No goal for the total
	80                                      
	ppb      
	N
	By-product of drinking water disinfection.


*The value in the Highest Level or Average Detected column is the highest average of all TTHM sample results collected at a location over a year
2022
	Inorganic Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Arsenic
	2022
	3.4
	3.4 - 3.4
	0
	10                                      
	ppb      
	N
	Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes.

	
	
	
	
	
	
	
	
	

	Barium
	2022
	0.174
	0.174 - 0.174
	2
	2                                       
	ppm      
	N
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	
	
	
	
	
	
	
	
	

	Fluoride
	06/30/2020
	0.51
	0.51 - 0.51
	4
	4.0                                     
	ppm      
	N
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	
	
	
	
	
	
	
	
	

	Nitrate [measured as Nitrogen]
	2022
	0.07
	0.07 - 0.07
	10
	10                                      
	ppm      
	N
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.


2022
	Radioactive Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	
	
	
	
	
	
	
	
	

	Uranium
	02/05/2021
	1.4
	1.4 - 1.4
	0
	30                                      
	ug/l     
	N
	Erosion of natural deposits.


Disinfectant Residual
	Disinfectant Residual
	Year
	Average Level
	Range of Levels Detected
	MRDL
	MRDLG
	Unit of Measure
	Violation (Y/N)
	Source in Drinking Water

	
	
	
	
	
	
	
	
	

	Chloramines
	2022
	2.2
	0.5-3.8
	4
	4
	ppm
	N    
	Water additive used to control microbes.


	Data Supplied by the City of Houston
Customers of Houston Water Main System receive their drinking water from three water purification plants and 40 ground water plants. 16 additional groundwater plants
provide for the remaining 5 Houston Water Systems. The City of Houston treats the water according to federal and state standards to remove harmful contaminants.

	Turbidity
	Year
	Average Level
	Range Min - Max
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	Turbidity
	2021
	0.13
	0.10 - 0.51
	Not provided
	Not provided
	NTU
	No
	Soil runoff

	Turbidity has no health effects. However, turbidity can interfere with disinfection and provide a medium for microbial growth. Turbidity may indicate the presence of disease-causing organisms. These organisms include bacteria, viruses and parasites that can cause symptoms such as nausea, cramps, diarrhea and associated headaches.


	Lead and Copper
	Date Sampled
	MCLG
	Action Level
	90th Percentile
	# Sites Over AL
	Units
	Violation
	Likely Source of Contamination

	Copper
	08/22/2019
	1.3
	1.3
	0.116
	0
	ppm
	No
	Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing

systems.

	Lead
	08/22/2019
	0
	15
	3.54
	0
	ppm
	No
	Corrosion of household plumbing systems; Erosion of natural deposits.

	

	Disinfection By-Products
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	Haloacetic Acids (HAA%)
	2020
	2
	0 – 1.6
	No goal for the total
	60
	ppb
	No
	By-product of drinking water disinfection.

	*The value in the Highest Level or Average Detected column is the highest average of all HAA% sample results collected at a location over a year

	Total Trihalomethanes (TTHM)
	2020
	9
	1 – 9.3
	No goal for the total
	80
	ppb
	No
	By-product of drinking water disinfection.

	

	Radioactive Contaminants
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	Radium-226
	2017
	1.61
	0 – 1.6
	0
	5
	pCi/L
	No
	Erosion of natural deposits.

	Uranium
	2017
	<0.001
	<0.001 – <0.001
	0
	30
	ppm
	No
	Erosion of natural deposits.

	Gross Alpha
	2017
	4
	0 – 4
	0
	15
	pCi/L
	No
	Erosion of natural deposits.

	Gross Beta
	2017
	4.4
	0 – 4.4
	0
	50
	pCi/L
	No
	Decay of natural and manmade deposits.

	

	Inorganic Contaminants (Treatment Plant)
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	Arsenic
	2022
	.0048
	ND – 0.0048
	0
	0.01
	ppm
	No
	Erosion of natural deposits; Runoff from orchards; Runoff from glass and electronics production wastes.

	Barium
	2022
	0.0628
	0.0508– 0.0628
	2
	2
	ppm
	No
	Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits.

	Cyanide
	2022
	0.12
	ND – 0.12
	0.2
	0.2
	ppm
	No
	Discharge from plastic and fertilizer factories; Discharge from steel/metal factories.

	DI(2-Ethylhexyl) Phthalete
	2021
	0.99
	ND – 0.99
	0
	6
	Ug/l
	No
	Discharge from rubber and chemical factories

	Nitrate [measured as Nitrogen]
	2022
	0.23
	ND-0.23
	10
	10
	ppm
	No
	Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits.

	Synthetic organic contaminants including pesticides and

herbicides
	Collection Date
	Highest Level Detected
	Range of Individual Samples
	MCLG
	MCL
	Units
	Violation
	Likely Source of Contamination

	Atrazine
	2022
	0.21
	ND- 0.21
	3
	3
	Ug/l
	No
	Runoff from herbicide used on row crops.

	Simazine
	2022
	0.09
	ND-0.09
	4
	4
	Ug/l
	No
	Herbicide runoff.



	Secondary Contaminant
	Year
	Highest Level Detected
	Range of Individual Samples
	Secondary Contaminant Level (SCL)
	Unit of Measure
	Violation
	Source in Drinking Water

	Aluminum
	2022
	0.11
	0.0345-0.11
	0.2
	ppm
	No
	Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories.

	Chloride
	2022
	51
	41-51
	250
	ppm
	No
	A compound of chlorine with another element or group especially: a salt or ester of hydrochloric acid.

Chloride is found in table salt or sea salt as

sodium chloride.

	Fluoride
	2022
	.3
	0.23-0.3
	ND
	ppm
	No
	Water additive which promotes strong teeth; erosion of natural deposits; discharge from fertilizer and aluminum factories.

	Iron
	2020
	0.1
	ND – 0.1
	0.3
	ppm
	No
	Erosion of natural deposits.

	Manganese
	2022
	0.007
	0.0044-0.007
	0.05
	ppm
	No
	Erosion of natural deposits.

	pH
	2022
	7.9
	7.6-7.9
	8.5
	SU
	No
	pH is an expression of hydrogen ion concentration in water.

	Sulfate
	2022
	42
	37-42
	250
	ppm
	No
	Sulfate is a naturally occurring Ion found in combination with metals in the form of salts.

	Total Dissolved Solids (TDS)
	2021
	284
	261-284
	500
	ppm
	No
	The quantity of dissolved material in a given volume of water.

	Zinc
	2020
	0.0084
	ND – 0.0084
	5
	ppm
	No
	Erosion of natural deposits.


	
	
	
	
	
	
	
	
	
	
	

	05/30/2023
	
	-
	
	TX1010214_2022_2023-05-30_09-51-43.DOC
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	
	
	



